## README
Vendor AI Authority Register and Pre-meeting Checklist
Reusable governance template by Ramya Amballa, AI for U&I (aiforui.org). Free to use and adapt. It is not a safety, security or compliance certification tool, and it does not replace OT engineering, process-safety or legal judgement.
Purpose | Reconciles four positions for every vendor interface, identity and data flow: what the contract permits, what the technology can do, what evidence shows, and who in the operator authorised it. A deployment decision is only as sound as the alignment between them.
Who uses it | A governance or TPRM coordinator maintains it. OT security, operations, process-safety engineering, legal and procurement own the technical and contractual conclusions recorded in it. It supports, and does not replace, vendor management, OT change control and Management of Change (MOC).
View A: Checklist | Two-page pre-meeting checklist. Use before the vendor review meeting to request evidence in six areas.
View B: Register | Register_Blank is the working register. Enter your organisation, vendor and assessment date at the top. Blue text = input. Black = formula. Do not overwrite the Classification, Exposure status, Next scheduled review, Mismatch status, Review status or Input check columns.
Classification rules | Applied in order: 1. Capability exceeds authority: capability Demonstrated AND (contract Prohibited OR operator Not approved). Only a demonstrated capability can be a violation. Unknown or undemonstrated capability is never classed as a violation. 2. Evidence insufficient: unresolved reachability: a network path is open but effective capability has not been independently demonstrated. A sub-class of evidence insufficient, treated as critical until resolved. 3. Authority undefined: contract Silent. 4. Evidence insufficient: capability Unknown, OR evidence None or Vendor attestation only. 5. Authorised and verified: contract Permitted AND Approved AND evidence Verified. 6. Authorised but unverified: everything else (typically permitted and approved, evidence Partial).
Why five classes | 'Authority undefined' is kept separate from 'Evidence insufficient' because a silent contract needs legal and commercial action, not more testing.
No scores | The register deliberately has no numeric risk scores. The class states what is wrong; the residual issue states why it matters. Prioritisation is a judgement for the accountable owner.
Exposure and interim restriction | Rows classed as capability exceeds authority or unresolved reachability are critical. They show NOT CONTAINED until an interim operating restriction is in force and independently verified by someone other than the person who applied it. Containment never closes a finding: the Mismatch status stays Open until the row is reclassified as authorised and verified. A scheduled review date never means the exposure can stay open until then; such rows show 'Contain first' instead of a date.
Containment decision | Authority undefined and Evidence insufficient rows need a recorded, risk-based containment decision (Yes / No, with rationale). Until one is recorded they show DECISION REQUIRED. Yes treats the row as critical, so it shows NOT CONTAINED until an independently verified restriction is in force. No allows scheduled remediation and must be accepted by the accountable owner.
Input validation | The Input check column flags contradictions: contract prohibits what the operator approved; approved with no authoriser; evidence verified while capability is unknown or undemonstrated; not approved while an approval is recorded. Such rows are classed Inconsistent inputs and are not classified further. Partly completed rows show Incomplete inputs.
Overdue and event-triggered review | Set the assessment as-of date above the register. Review status shows OVERDUE when the next scheduled review has passed, RE-RECONCILE when a material change date falls after the last review date, and Remediation target passed when an open row is past its target. Review dates and remediation targets are separate fields.
Logic tests | The Logic_Tests sheet runs the register formulas on made-up inputs to show how classification, containment and review status behave. It tests the template, not any system.
Review cadence | Next review = review date + the illustrative interval on the Lists sheet for the capability type, capped at the open-mismatch maximum unless the row is authorised and verified. The intervals are illustrative and must be calibrated.
Re-reconciliation triggers | Record the relevant trigger in the Event-triggered review column. Reconcile the affected rows before the next scheduled review when any of these occur: • model or software version change • new vendor support identities or changed privileges • new interfaces, credentials or network paths • new outbound data flows or destinations • new subcontractors • material contract changes • move from advisory to automated or autonomous operation • material plant change affecting the monitored asset
What a clean register does not mean | A fully reconciled register is necessary but not sufficient for deployment approval. It does not replace verification testing, MOC, hazard review or the accountable owner's decision.
Evidence rule | Record real evidence references in your own register. Treat vendor statements as attestation until verified.
Reference status | The checklist cites NCA OTCC-1:2022 control IDs as examples. Items marked [VERIFY] (cloud, data and classification requirements, IEC 62443-2-4 clause IDs) need confirmation for your organisation. Check applicability with your legal and compliance teams.
Not a certification tool | A fully reconciled register shows that authority, capability, evidence and approval have been compared. It does not certify that a system is safe or secure, and it does not approve deployment. Use it alongside OT engineering, process-safety, security and legal review.

## Checklist
View A: Pre-meeting checklist
Reusable governance template by Ramya Amballa, AI for U&I (aiforui.org). Free to use and adapt. It is not a safety, security or compliance certification tool, and it does not replace OT engineering, process-safety or legal judgement.
# | Question | Why it matters | Evidence to request | Status | Notes
1. Operational access
1 | Which interfaces can the AI platform read from, and at what level? | Scope creep starts with read access to more tags than the use case needs. | Tag list and interface specification, reconciled to the approved use case | Not started
2 | Does any credential, service account or conduit allow write to control or process systems? | Removing a credential does not remove a network path. An open path is unresolved until capability is tested, not assumed. | Credential inventory; firewall rule set for the gateway conduits (OTCC 2-4-1-1) | Not started
3 | Is the edge gateway in the industrial DMZ with no direct path to Level 2 or below? | Placement decides what a compromise of the gateway can reach. | Zone and conduit diagram; firewall rules (OTCC 2-4-1-9, 2-4-1-12) | Not started
4 | Are SIS networks segregated from every vendor path? | Safety systems must not share reach with third-party tools. | Segmentation evidence for SIS (OTCC 2-4-1-3) | Not started
5 | Who approved the current access, against which phase? | Access must trace to an operator decision, not a vendor default. | Approval record naming phase and scope | Not started
6 | How would the operator detect a new or changed path? | Point-in-time checks go stale. | Monitoring or configuration-drift arrangements | Not started
2. Vendor remote support
7 | Which vendor identities have remote access, to which assets? | Remote support routes are often authorised separately from the AI deployment. | Named identity list with assets and privileges | Not started
8 | Is remote access exceptional, time-limited and approved per session? | Standing access defeats the purpose of approval. | Access procedure; sample session approvals (OTCC 2-2-1-7) | Not started
9 | Is access via a DMZ access point with MFA, encryption and recording? | Controls on the route matter as much as who uses it. | Jump host configuration; recording retention (OTCC 2-4-1-10) | Not started
10 | Can support sessions reach engineering workstations or privileged functions, and can the AI platform use that route at all? | Legitimate human support and an AI command path are different risks. Keep them apart. | Privilege mapping per identity; evidence the platform holds no credential on the route | Not started
11 | Are subcontractor or offshore support staff used? | Authority granted to the vendor may be exercised by others. | Subcontractor list; flow-down clauses | Not started
12 | Is support activity reviewed by the operator, and who can end a session? | Recording without review is not monitoring. | Review log sample; reviewer role | Not started
3. Data transfers
13 | What data leaves OT, and to where? | The data map is the basis for every other data decision. | Data flow inventory with destinations and hosting locations | Not started
14 | Which regulatory and classification regimes apply to that data? | Obligations depend on classification and the parties, not on the word 'industrial'. | Classification decision [VERIFY national data classification and CCC/DCC applicability] | Not started
15 | Is use of OT data outside production limited and controlled? | OTCC treats OT data outside production as a controlled exception. | Controls for OT data use outside production (OTCC 2-6-1-4) | Not started
16 | Can the vendor use operator data to train models for other customers? | Commercial use of operational data needs explicit authority. | Contract clause; vendor data-use statement | Not started
17 | Who at the vendor and its subcontractors can access transferred data? | Access at the destination is part of the transfer risk. | Access list and location of support staff | Not started
18 | How is data deleted at contract end? | Exit terms are often missing. | Deletion and return clause; certificate process | Not started
4. Model and software changes
19 | Are automatic updates enabled on the gateway, and does the operator's change procedure cover it? | Only if both are true is an automatic update a change-control gap. | Gateway update configuration; change procedure scope (OTCC 1-5-1) | Not started
20 | Are updates tested in a separate environment before production? | Validation outside production is an OTCC expectation. | Test records (OTCC 1-5-3-2, 2-4-1-15) | Not started
21 | Is the model version recorded with each recommendation? | Without version, a recommendation cannot be traced. | Sample recommendation record | Not started
22 | Are dormant modules (e.g. Phase 2 features) installed? | Installed-but-disabled is a capability, not an absence. | Installed component inventory; configuration evidence | Not started
23 | Who can re-enable a disabled feature, and how would the operator know? | Enablement is a change and needs control. | Feature flag governance; change record | Not started
24 | Does a model change trigger re-reconciliation of this register? | Authority granted to one version does not transfer automatically. | Trigger procedure | Not started
5. Contractual authority
25 | Does the contract define permitted functions by phase? | Phase boundaries must exist on paper before they can be tested. | Statement of work; phase definitions | Not started
26 | Does it prohibit write, control or autonomous actions in Phase 1? | Silence is not a prohibition. | Specific clause | Not started
27 | Are remote support terms aligned with OTCC remote access expectations? | Contract and control must say the same thing. | Remote support schedule (OTCC 4-1-1-1) | Not started
28 | Are security requirements for the vendor as a service provider stated? | IEC 62443-2-4 frames service provider requirements. | Security schedule [VERIFY IEC 62443-2-4 clause mapping] | Not started
29 | Does the operator have audit and evidence rights? | Without them, verification depends on goodwill. | Audit clause | Not started
30 | Are subcontracting, data use and incident notification covered? | These are the common silent areas. | Relevant clauses | Not started
6. Deployment approval
31 | Is there a named accountable owner in the operator? | Decisions need an owner who can accept residual risk. | Named owner and delegation | Not started
32 | Has OT change control approved the current configuration? | Deployment is a change to the OT environment. | Change record | Not started
33 | Does moving beyond advisory go through MOC? | Automated or autonomous action changes how the plant is operated. | MOC procedure and applicability decision | Not started
34 | Have process-safety engineers decided what hazard review is needed? | That is their decision, not the governance coordinator's. | Process-safety determination | Not started
35 | Are open mismatches in this register accepted, remediated or blocking? | Every open item needs a disposition. | Register with dispositions | Not started
36 | What evidence will the decision body review before approval? | Approval without evidence review is assertion. | Evidence pack index | Not started

## Register_Blank
View B: Vendor AI Authority Register
Reusable template. Enter your own organisation, vendor and assessment date above the register. Blue text = input; black = formula.
Review date is not a remediation deadline. NOT CONTAINED means act now. | [6 empty] | Organisation |  |  | Vendor |  |  | Assessment as-of date
ID | Asset or interface | Vendor identity | Access purpose | Environment / zone (illustrative levels) | Approved phase | Capability type | Contract position | Contract reference | Technical capability | Verification status | Evidence reference | Operator approval | Who authorised | Classification | Exposure status | Interim operating restriction | Restriction status | Control owner | Residual issue | Remediation owner | Operator accountable owner | Review date | Next scheduled review | Event-triggered review on | Criterion reference | Restriction independently verified by | Mismatch status | Containment required? (for Authority undefined / Evidence insufficient) | Containment decision rationale | Remediation target date | Material change date | Review status | Input check
Summary by class
| Capability exceeds authority | 0
| Evidence insufficient: unresolved reachability | 0
| Authority undefined | 0
| Evidence insufficient | 0
| Authorised but unverified | 0
| Authorised and verified | 0
| Total classified | 0
Warnings
| Inconsistent or incomplete inputs | 0
| NOT CONTAINED | 0
| Containment decision required | 0
| Contained (interim), still open | 0
| Overdue reviews | 0
| Re-reconciliation required | 0
| Remediation target passed | 0

## Remote_Support_Profile
Remote support profile: human vendor support vs AI platform access
Reusable governance template by Ramya Amballa, AI for U&I (aiforui.org). Free to use and adapt. It is not a safety, security or compliance certification tool, and it does not replace OT engineering, process-safety or legal judgement.
Document each human support route separately from the AI platform path. Do not assume the AI can or cannot use a support route; record the evidence.
Route / identity | Register ID | Authorisation basis | MFA | Session recording | Time-limited | Per-session approval | Privilege scope | Operator oversight | Usable by AI platform? | Evidence | Gap

## Logic_Tests
Logic tests for the register formulas
These rows test the template formulas with made-up inputs. They are not assessment evidence.
Review date is not a remediation deadline. NOT CONTAINED means act now. | [6 empty] | Organisation | Test |  | Vendor | Test |  | Assessment as-of date | 2026-09-29
ID | Asset or interface | Vendor identity | Access purpose | Environment / zone (illustrative levels) | Approved phase | Capability type | Contract position | Contract reference | Technical capability | Verification status | Evidence reference | Operator approval | Who authorised | Classification | Exposure status | Interim operating restriction | Restriction status | Control owner | Residual issue | Remediation owner | Operator accountable owner | Review date | Next scheduled review | Event-triggered review on | Criterion reference | Restriction independently verified by | Mismatch status | Containment required? (for Authority undefined / Evidence insufficient) | Containment decision rationale | Remediation target date | Material change date | Review status | Input check | Expected classification | Expected exposure | Expected review status | Result
T01 | normal: authorised and verified |  |  |  |  | Read-only advisory | Permitted |  | Demonstrated | Verified |  | Approved | Change board | Authorised and verified | No open mismatch | [6 empty] | 2026-09-01 | 2027-02-28 |  |  |  | No open mismatch |  |  |  |  | Review scheduled | OK | Authorised and verified | No open mismatch | Review scheduled | PASS
T02 | contradictory: contract prohibits, operator approved |  |  |  |  | Control-relevant | Prohibited |  | Demonstrated | Partial |  | Approved | Change board | Inconsistent inputs: resolve before classifying | Validation warning: fix inputs | [6 empty] | 2026-09-01 | Fix inputs first |  |  |  | Open: closes only when reclassified as authorised and verified |  |  |  |  | No date: see exposure status | Contract prohibits what the operator approved | Inconsistent inputs: resolve before classifying | Validation warning: fix inputs |  | PASS
T03 | contradictory: verified evidence, unknown capability |  |  |  |  | Software change | Permitted |  | Unknown | Verified |  | Approved | Change board | Inconsistent inputs: resolve before classifying | Validation warning: fix inputs | [6 empty] | 2026-09-01 | Fix inputs first |  |  |  | Open: closes only when reclassified as authorised and verified |  |  |  |  | No date: see exposure status | Evidence marked verified but capability not demonstrated | Inconsistent inputs: resolve before classifying | Validation warning: fix inputs |  | PASS
T04 | contradictory: approved, no authoriser |  |  |  |  | Data egress | Permitted |  | Demonstrated | Partial |  | Approved |  | Inconsistent inputs: resolve before classifying | Validation warning: fix inputs | [6 empty] | 2026-09-01 | Fix inputs first |  |  |  | Open: closes only when reclassified as authorised and verified |  |  |  |  | No date: see exposure status | Approved but no authoriser recorded | Inconsistent inputs: resolve before classifying | Validation warning: fix inputs |  | PASS
T05 | incomplete inputs |  |  |  |  | Data egress | Permitted |  |  | Partial |  | Approved | Change board | Incomplete inputs | Validation warning: fix inputs | [6 empty] | 2026-09-01 | Fix inputs first |  |  |  | Open: closes only when reclassified as authorised and verified |  |  |  |  | No date: see exposure status |  | Incomplete inputs | Validation warning: fix inputs |  | PASS
T06 | unknown capability, containment not assessed |  |  |  |  | Software change | Permitted |  | Unknown | Vendor attestation only |  | Not requested | None | Evidence insufficient | DECISION REQUIRED: containment not assessed | [6 empty] | 2026-09-01 | Decide containment first |  |  |  | Open: closes only when reclassified as authorised and verified |  |  |  |  | No date: see exposure status | OK | Evidence insufficient | DECISION REQUIRED: containment not assessed |  | PASS
T07 | unknown capability, containment Yes, restriction proposed |  |  |  |  | Software change | Permitted |  | Unknown | None |  | Not requested | None | Evidence insufficient | NOT CONTAINED: act now, do not wait for review |  | Proposed |  |  |  |  | 2026-09-01 | Contain first |  |  |  | Open: closes only when reclassified as authorised and verified | Yes |  |  |  | No date: see exposure status | OK | Evidence insufficient | NOT CONTAINED: act now, do not wait for review |  | PASS
T08 | authority undefined, containment No |  |  |  |  | Data egress | Silent |  | Unknown | None |  | Not requested | None | Authority undefined | Open mismatch: remediate to plan | [6 empty] | 2026-09-01 | 2026-10-01 |  |  |  | Open: closes only when reclassified as authorised and verified | No |  |  |  | Review scheduled | OK | Authority undefined | Open mismatch: remediate to plan | Review scheduled | PASS
T09 | unresolved reachability, verifier pending |  |  |  |  | Control-relevant | Prohibited |  | Path open, not demonstrated | Partial |  | Not approved | Not authorised | Evidence insufficient: unresolved reachability | NOT CONTAINED: act now, do not wait for review |  | In force, verified |  |  |  |  | 2026-09-01 | Contain first |  |  | Pending | Open: closes only when reclassified as authorised and verified |  |  |  |  | No date: see exposure status | OK | Evidence insufficient: unresolved reachability | NOT CONTAINED: act now, do not wait for review |  | PASS
T10 | exceeds authority, independently verified restriction |  |  |  |  | Privileged support | Permitted |  | Demonstrated | Partial |  | Not approved | None | Capability exceeds authority | Contained (interim): finding stays open |  | In force, verified |  |  |  |  | 2026-09-20 | 2026-10-20 |  |  | Independent reviewer | Open: closes only when reclassified as authorised and verified |  |  |  |  | Review scheduled | OK | Capability exceeds authority | Contained (interim): finding stays open | Review scheduled | PASS
T11 | overdue review |  |  |  |  | Read-only advisory | Permitted |  | Demonstrated | Verified |  | Approved | Change board | Authorised and verified | No open mismatch | [6 empty] | 2025-01-01 | 2025-06-30 |  |  |  | No open mismatch |  |  |  |  | OVERDUE review | OK | Authorised and verified | No open mismatch | OVERDUE review | PASS
T12 | material change after last review |  |  |  |  | Read-only advisory | Permitted |  | Demonstrated | Verified |  | Approved | Change board | Authorised and verified | No open mismatch | [6 empty] | 2026-09-01 | 2027-02-28 |  |  |  | No open mismatch |  |  |  | 2026-09-20 | RE-RECONCILE: material change since last review | OK | Authorised and verified | No open mismatch | RE-RECONCILE: material change since last review | PASS
T13 | remediation target passed |  |  |  |  | Read-only advisory | Permitted |  | Demonstrated | Partial |  | Approved | Change board | Authorised but unverified | Open mismatch: remediate to plan | [6 empty] | 2026-09-25 | 2026-10-25 |  |  |  | Open: closes only when reclassified as authorised and verified |  |  | 2026-09-26 |  | Remediation target passed | OK | Authorised but unverified | Open mismatch: remediate to plan | Remediation target passed | PASS
| Tests passed | 13 of 13

## Lists
Contract | Capability | Evidence | Approval | CapType | Status | Restriction | Illustrative review cadence (days). Not a recommended standard; calibrate with the operator's risk owners.
Permitted | Demonstrated | Verified | Approved | Control-relevant | Not started | In force, verified | Capability type | Days when authorised and verified
Prohibited | Path open, not demonstrated | Partial | Not approved | Privileged support | Evidence requested | In force, not verified | Control-relevant | 30
Silent | Absent | Vendor attestation only | Not requested | Data egress | Evidence received | Proposed | Privileged support | 30
| Unknown | None |  | Software change | Verified | Not required | Data egress | 90
|  |  |  | Read-only advisory | Gap identified |  | Software change | 90
[5 empty] | Not applicable |  | Read-only advisory | 180
[7 empty] | Maximum days while any mismatch is open | 30